MANDATORY PUBLIC NOTICE LANGUAGE

# FOR A REPORTING VIOLATION OF THE

MAXIMUM RESIDUAL DISINFECTANT LEVEL

PUBLIC NOTIFICATION

REPORTING VIOLATION OF THE

MAXIMUM RESIDUAL DISINFECTANT LEVEL

The Truro Waterworks is required by state and federal regulations to submit a monthly report summarizing the disinfectant levels found in the drinking water.

This monthly summary is required to be submitted to the Iowa Department of Natural Resources to report whether or not the Maximum Residual Disinfectant Level of 4.0 mg/L of total chlorine in the drinking water was exceeded during the previous 12 months.  Chlorine is beneficial at low levels to control microbes, such as Coliform bacteria, but may have adverse health risks at excessive levels.

The Truro Waterworks regrets its failure to report the Maximum Residual Disinfectant Level in January 2022 and will work to make sure that the required information is submitted in the future.

Customers with questions or concerns about the Maximum Residual Disinfectant Levels, or any other water problem, should contact City Hall 641-765-4586

The Iowa State Hygienic Lab failed to let the City Public Works know the sample was unusable and did not meet the requirements. This will not be an issue going forward.